PUNJAB STATE ELECTRICITY BOARD

GURU GOBIND SINGH SUPER THERMAL PLANT ROOPNAGAR

Tender Notice.

| Office | Chief Engineer/GGSSTP, Roopnagar. |
| --- | --- |
| Tender Specification No. | 6951/P-II/EMP-11213 Dated: 21.2.16 |
| Issuing Authority | Chief Engineer/GGSSTP, Roopnagar. |
| Address | Dy. CE/Monitoring, GGSSTP Roopnagar. |
| Place | Roopnagar. |
| Short Description | Desk Tiles for control system of Stage-I-II & III |
| Tender publication | ON ALL INDIA BASIS |
| Eligibility Criteria | As per terms and conditions |
| 1) Starting date of Sale of Tender | at 11.00 A.M. |
| 2) Last Date for Sale of Documents | 17.02.17 Up to 11.00 A.M. |
| 3) Last Date of Bid Submission | 21.02.17 Up to 11.00 A.M. |
| 4) Bid Opening | 21.02.17 at 11.30 A.M. |
| Document Cost | Rs. 500/- |
| Payment Mode | DD or Cash |
| Payment in favour of | Accounts Officer/O&M, GGSSTP, Ropar. (PUNJAB) |
| EMD | Demand Draft in favour of Accounts Officer/O&M, GGSSTP, Ropar (PUNJAB) |
| Contact | Phone No. 01881-275666 FAX No. 01881-274232 |
| Tender Details:- Sr. No; Description of Material; Qty (No’s). 1.; Push Button module (White 24X48 mm -Release) With Connector, Subklew code EF 122001.; 1. 2.; Push Button module (White 24X48 mm –lamp test) With Connector subklew make,; 1. 3.; 2 PB module (With Connector) (24 x 48)mm, Subklew make.; 1. 4.; 2 PB 2 LED module (With Connector) (24 x 48)mm, Subklew code EF 723605.; 2. 5.; 2 PB 3 LED module (With Connector) (24 x 48) mm, Subklew code EF 722105.; 3. 6.; 3 PB 3 LED module (With Connector) (24 x 48)mm, Subklew code EF 722005.; 2. 7.; Dual scale Indicator for Command/ deviation, 48x48mm, Model PQ48/2, 2 display,Weigel make various ranges/ scales.; 4. 8.; Single scale Indicator for Command/ deviation, 48 x48mm, Model PQ48, Weigel make of various ranges/ scale.; 3. 9.; 3 LED module (With Connector) (24 x 48)mm, Subklew code E 424005.; 1. 10.; 1 PB 2 LED module (With Connector) (24x48)mm Subklew code EF 723803.; 1. 11.; Push Button module (Red-48X48mm With Cover) With connector, Subklew code EF 170101.; 1. TERMS AND CONDITIONS: - A set of tender documents containing detailed technical specifications, General instructions and terms & conditions can be obtained from Dy.CE/Monitoring, V&P.O. Ghanauli, GGSSTP, Roopnagar -140113 on payment of cost by cash or demand draft drawn in favour of Accounts officer/O&M, GGSSTP, Ropar payable at Ropar (PUNJAB) - Tender of firms, which do not purchase the tender documents in advance, shall not be opened. - All tenders must be accompanied by earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted there under. - Telegraphic / Fax quotations shall not be accepted. - Negotiations shall not be held excepting with the lowest tenderer. Dy. CE/ Monitoring, GGSSTP, Roopnagar |