PUNJAB STATE ELECTRICITY BOARD

GURU GOBIND SINGH SUPER THERMAL PLANT ROOPNAGAR

Tender Notice

| Office | General Manager/GGSSTP, Roopnagar. |
| --- | --- |
| Tender Specification No. | 6881/P-II/EMP-11028 Dated: 14.3.2016 |
| Issuing Authority | General Manager/GGSSTP, Roopnagar. |
| Address: | Dy.CE/Monitoring, GGSSTP Roopnagar. |
| Place | Roopnagar. |
| Short Description | Various types of Gun Metal Valves |
| Tender publication | ON ALL INDIA BASIS |
| Eligibility Criteria | As per terms and conditions |
| 1) Starting date of Sale of Tender | at 11.00 A.M. |
| 2) Last Date for Sale of Documents | 18.4.2016 Upto 11.00 A.M. |
| 3) Last Date of Bid Submission | 18.4.2016 Upto 11.00 A.M. |
| 4) Bid Opening | 22.4.2016 at 11.30 A.M. |
| Document Cost | Rs. 500/- |
| Payment Mode | DD or Cash |
| Payment in favour of | Accounts Officer/O&M, GGSSTP, Ropar. (PUNJAB) |
| EMD | Demand Draft in favour of Accounts Officer/O&M, GGSSTP, Ropar (PUNJAB) |
| Contact | Phone No. 01881-275666 FAX No. 01881-274232 |
| Tender Details:- Sr. No.; Description; Qty. (Nos.). Gun Metal GLOBE VALVES, IS:778, Class-I, screwed in bonnet, inside screw, rising stem, integral seat, renewable disc, screwed female ends to IS:554, BTP. 1.5 MPA (Hyd.), S.T.P: 1.0MPA (Hyd.) of following size (Annex-I):. 1; 15 mm; 22. 2; 20 mm; 5. 3; 25 mm; 8. 4; 40 mm; 10. 5; 50 mm; 9. 6; 80 mm; 2. Gun Metal GATE VALVES, IS:778, Class-I, Screwed in Bonnet, inside screw, non rising stem, integral seat, Solid wedge, screwed female ends to IS:554, BTP:1.5 MPA (Hyd.), STP:1.0 MPA (Hyd.) of following size (Annex-II):. 7; 15 mm; 46. 8; 20 mm; 10. 9; 25 mm; 28. 10; 32 mm; 3. 11; 40 mm; 10. 12; 50 mm; 12. Gun Metal Gate Valves as per IS 778.84, Class-I, screwed in Bonnet, rising stem, solid wedge screwed female ends as per IS 554.85, Hyd. Tested to 1.5 MPA ISI marks. 13; 20 mm; 7. Gun Metal Plug valve as per IS 778:84, Class-2 PN-15, Screwed female thread as per IS 554-85 (Parallel) and having testing pressure BTP-2.4 Mpa, Hyd & STP. 1.6 Mpa of following size:. 14; 15mm; 4. Gun Metal vertical lift check valve as per IS – 778.84, CI-2, GM (IS 318-81 LTB2) Screwed in cover, integral seat, Cu-alloy trim, screwed female thread to IS 544-85 (Parallel) and having testing pressure BTP-2.4 Mpa, Hyd STP. 1.6 Mpa of size:. 15; 25mm; 2. TERMS AND CONDITIONS: - A set of tender documents containing detailed technical specifications, General instructions and terms & conditions can be obtained from Dy.CE/Monitoring, V&P.O. Ghanauli, GGSSTP, Roopnagar -140113 on payment of cost by cash or demand draft drawn in favour of Accounts officer/O&M, GGSSTP, Ropar payable at Ropar (PUNJAB) - Tender of firms, which do not purchase the tender documents in advance, shall not be opened. - All tenders must be accompanied by earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted there under. - Telegraphic / Fax quotations shall not be accepted. - Negotiations shall not be held excepting with the lowest tenderer. Dy.CE/ Monitoring, For GM/GGSSTP, Roopnagar |