PUNJAB STATE ELECTRICITY BOARD

GURU GOBIND SINGH SUPER THERMAL PLANT ROOPNAGAR

Tender Notice

| Office | Chief Engineer/GGSSTP, Roopnagar. |
| --- | --- |
| Tender Specification No. | 6927/P-II/EMP-11149 Dated: 1.9.16 |
| Issuing Authority | Chief Engineer/GGSSTP, Roopnagar. |
| Address: | Dy.CE/Monitoring, GGSSTP Roopnagar. |
| Place | Roopnagar. |
| Short Description | Spares for Hydrastep Boiler Drum Level Indication System of Unit-1 to 6 of GGSSTP, Roopnagar. |
| Tender publication | ON ALL INDIA BASIS |
| Eligibility Criteria | As per terms and conditions |
| 1) Starting date of Sale of Tender | at 11.00 A.M. |
| 2) Last Date for Sale of Documents | 10.10.16 Upto 11.00 A.M. |
| 3) Last Date of Bid Submission | 14.10.16 Upto 11.00 A.M. |
| 4) Bid Opening | 14.10.16 at 11.30 A.M. |
| Document Cost | Rs. 500/- |
| Payment Mode | DD or Cash |
| Payment in favour of | Accounts Officer/O&M, GGSSTP, Ropar. (PUNJAB) |
| EMD | Demand Draft in favour of Accounts Officer/O&M, GGSSTP, Ropar (PUNJAB) |
| Contact | Phone No. 01881-275666 FAX No. 01881-274232 |
| Tender Details:- Sr. No.; Description; Qty. (Nos.). 1; Flange type HP Electrodes complete with Metaflex gasket assembly, capable of withstanding Pr. 207 Kg/cm2 and Temperature 370o C suitable for direct replacement of - Solartron, U.K. (Part No. 459600201) conforming to CEGB U.K. Standard 500131. OR - Level State Systems Ltd. U.K. (Probe Type 882) conforming to C.E.G.B. U.K. Standard 500131; 18. 2; Metaflex gaskets (stainless steel and grafoil) for H.P. Electrodes as mentioned in Sr.No.1 above.; 25. 3; HT Anti seize compound (85gm per tube) Copper based paste designed for use on all type of threaded and fasteners where resistance to corrosive atmosphere, high load or temperature is required, Capable of withstanding pressure 207 Kg/cm2 & temperature 370oC.; 3. |

TERMS AND CONDITIONS:

- A set of tender documents containing detailed technical specifications, General instructions and terms & conditions can be obtained from Dy.CE/Monitoring, V&P.O. Ghanauli, GGSSTP, Roopnagar -140113 on payment of cost by cash or demand draft drawn in favour of Accounts officer/O&M, GGSSTP, Ropar payable at Ropar (PUNJAB)

- Tender of firms, which do not purchase the tender documents in advance, shall not be opened.

- All tenders must be accompanied by earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted there under.

- Telegraphic / Fax quotations shall not be accepted.

- Negotiations shall not be held excepting with the lowest tenderer.

Dy.CE/ Monitoring,

GGSSTP, Roopnagar