PUNJAB STATE POWER CORPORATION LIMITED

(Regd. Office : PSEB Head Office, The Mall, Patiala – 147001)

Corporate identity Number U40109PB2010SGC033813 Website: www.pspcl.in

OFFICE OF THE CHIEF ENGINEER /GGSSTP,

MATERIAL MANAGEMENT CELL-3, V&P.O. GHANAULI, ROOPNAGAR-140113

Phone no. 01881-275666 E-mail: se-monitoring-ggsstp@pspcl.in

---------------------------------------------------------------------------------------------------------------------------------

Annexure-‘A’

ENQUIRY NO. 7017  /P-3/EMP-11352	     DT. 11.12.17

DETAIL OF MATERIAL AND TECHNICAL SPECIFICATIONS.

| Sr.no | GGSSTP Code | Description | Unit | Qty |
| --- | --- | --- | --- | --- |
| - Spares for LG make ductable split AC model LBU1104QC & LBU1105QC for Excitation rooms unit 3 to 6 |  |  |  |  |
| 1 | 27041133 | Main PCB For Model-: LBU1104 QC ANONE | No. | 1 |
| 2 | 27041134 | Main PCB For Model-: LBU1105 QC ANONE | No. | 1 |
| 3 | 27041127 | Scroll compressor for 5.5 TR LG make ductable split AC 380-415V,3 phase, 50 Hz,R-22 gas Make:- LG/Copeland/Danfoss | No. | 1 |
| - Spares for Window ACs of Excitation rooms Unit 1 to 6 |  |  |  |  |
| 4 | 27042424 | Rotary compressor for 1.5 ton LG make Window AC, 1 phase, 50Hz, 220-240V,R-22 gas Make:-LG/Highly/Hitachi/Carrier | No. | 2 |
| 5 | 27042441 | Remote kit including thermostat and PCB for 1.5TR LG make window air conditioner | No. | 2 |
| 6 | 27042444 | Condenser fan & blower set 1.5TR for LG make window air conditioner | No. | 1 |
| - Spares for LG make, ductable split AC model -LBUH0750QC for Excitation Room, Unit- 1 & 2 |  |  |  |  |
| 7 | 27041143 | Single Phasing preventor for compressor twin of 3.75TR | No. | 1 |
| 8 | 27041144 | Scroll compressor for 3.75TR LG make ductable split AC, 3phase, 380- 415V 50Hz, R-22 gas Make:- LG/Copeland/Danfoss | No. | 1 |
| 9 | 27041112 | Out door fan motor Model-4681A30014A | No. | 1 |
| - Spares for Split AC 7.5 TR make carrier model:-versatech -7500 for Service Building |  |  |  |  |
| 10 | 27049995 | Reciprocating Compressor 2.5TR 3Phase, 380-415V,50HZ Make:- Carrier NH2200BB/ Copeland CR36K6TF6 | No. | 1 |
| 11 | 27050052 | Contactor with overload relay 7 to 16 A 220V for 2.5TR Compressor | Set | 1 |
| - Spares for water coolers |  |  |  |  |
| 12 | 27042405 | Thermostat for Water Cooler (Indfoss/Ranutool)) | No. | 4 |
| 13 | 27042414 | Float Valve (Brass) Complete for Water cooler (15mm) | No. | 6 |
| 14 | 27042413 | Fan motor along with base and blade brg. type, self lubricated. 1/34HP, 230V,1 phase, 50 Hz, 940 RPM GE make | No. | 5 |
| 15 | 27042399 | Compressor model: KCE 461 HAE for 80/120 Ltr. Water Coolers | No. | 2 |
| 16 | 27042397 | Compressor model: KCE 443 HAE for 60/80 Ltr. Water Coolers | No. | 2 |

Terms and Conditions:-

- Fax/Telegraphic/e-mail tender shall not be accepted.

- The tender shall be sent in two separate envelopes as under:-

- Part-1- One envelope containing deposit of Earnest Money                         (if applicable) & Technical /Commercial.

- Part-2- The other containing the prices.

While opening the tenders the envelope containing the Earnest Money (if applicable) & Technical /Commercial shall be opened first and in case the deposit of Earnest Money (if applicable) & Technical /Commercial is in accordance with the terms of notice inviting tender only then second envelope containing the tender (prices) shall be opened.

- The tender must be accompanied by EARNEST MONEY (If applicable as per Annexure-B)

- The rates should be quoted on FOR destination basis giving break up of FOR Destination price as per Annexure-D.

- The proforma for price schedule enclosed with specification shall be filled by tenderers duly typed and hand written prices shall not be accepted.

- In addition to the break-up of total price i.e. ex-works cost, GST, Freight, Insurance and Packing the bidders should also give split up of ex-works price.

- Split up of ex-works prices shall indicate cost of raw material, Labour component and overhead expenses.

- Raw material can further be divided into 3-4 parts depending upon type of material.

- The offer should be kept valid for 120 days from date of opening of tenders.

- The bidders are not allowed to indicate over all discount on the quoted price for which split up has been given as mentioned in Sr. No. 6 & 7 above. However, quantity/payment discount can be given by the tenderer in the main tender.

- Any firm offering discount on the quoted price or after the opening of tender will be out rightly rejected.

- Competent authority may distribute the quantities to be procured on more than one firm.

- All pages of quotation should be duly signed.

- Quantity can be increased or decreased.

- Relevant literature/catalogue should be sent along with quotation.

- Negotiation shall not be held except with lowest bidder.

- Random testing of material on receipt in GGSSTP Store irrespective of the fact whether or not it was inspected before despatch shall be carried out by PSPCL. In case of any failure the entire lot shall be rejected at the risk and cost of the supplier.

- Any deviation from PSPCL’s standard terms and conditions be clearly mentioned in quotation under “Schedule of deviations” otherwise all terms and conditions will be deemed to have been accepted.

- Firm should mention GST number in their offer.

- Any firm which at the time of opening of the Tender enquiry, falls in any of the following categories, shall be regarded as defaulter and shall not be eligible for participation in any new Tender enquiry for a period of three years from the date of issue of Purchase Order in which it has defaulted:-

- The Firm is a defaulter for the supply of 35% or more quantity on the date of expiry of the Contractual Delivery Period for the total ordered quantity.

- The Firm is a defaulter for the supply of any quantity for more than 6 months from the date of expiry of the Contractual Delivery Period for the total ordered quantity.

This clause shall be applicable item wise (all types, sizes and ratings) against which the firm has become defaulter under the above said conditions.

- All other terms and conditions are as per Annexure - ‘B’ attached.

Sd/-

Dy.CE/Monitoring		     	               							GGSSTP, Rupnagar.