Punjab State Power Corporation Limited

(Regd. Office :PSEB Head Office, The Mall Patiala - 147001,

Corporate Identity Number : U40109PB2010SGC033813 Website: www.pspcl.in

OFFICE OF THE CHIEF ENGINEER/GGSSTP,

GURU GOBIND SINGH SUPER THERMAL PLANT ROOPNAGAR

Tender Notice

| Office | The Chief Engineer/GGSSTP,Roopnagar |
| --- | --- |
| Tender Enquiry No. & Date | 6911/P-1/EMP-11091 dated 14.7.17 |
| Issuing Authority | The Chief Engineer/GGSSTP,Roopnagar |
| Address | Dy.C.E./Monitoring,GGSSTP,Roopnagar |
| Place | Roopnagar |
| Short Description | Procurement of . Lab Chemicals , Lab Wares, Instrument Spares and other miscellaneous items for Water Laboratory of GGSSTP |
| Tender Publication | All India basis |
| Eligibility Criteria | As per terms and conditions |
| Last date of sale of tender | 22.08.16 Upto 11:00 AM |
| Last date for Bid submission | 26.08.16 Upto 11:00 AM |
| Bid Opening | 26.08.16 At 11:30 AM |
| Document Cost | Rs. 500/- |
| Payment Mode | By demand draft or Cash |
| Payment in favour of | Accounts Officer/O&M,GGSSTP,Roopnagar |
| EMD | Demand Draft in favour of Accounts Officer/O&M, GGSSTP, Roopnagar (Punjab). |
| Contact | 01881 - 275666 |
| TENDER DETAILS Sr. No.; GGSSTP Code; Description of Material; Unit; Qty. 1; CH510182; Ammonium Molybdate . Make: Rankem/ Fisher/SD fine/ Ranbaxy/ Merc.; Kg.; 04. 2; CH510190; ANS (1-Ammino. -2 Napthol -4-Sulphonic acid) . Make: Rankem/Fisher/SD fine/ Ranbaxy / Merc.; Gm.; 100. 3; CH813602; Burrette stand with double clamp of size 30x20x75 cm appprox dual clamp for 2 burrettes. Make: Standard, Color: White / Cream; Material: PVC.; No.; 02. 4; CH815022; CRM of Coal Cat:1031B NCCBM Ballabgarh; each set containing 3 vials , CRM developed by M/s National Council for Cement & Building Materials, Ballabgarh. Parameters: Ash, Volatile Matter, GCV, Sulfur with certificate. Certificate should be valid minimum upto Dec 2018.; Set; 03. 5; CH813982; Conductivity cell. Make Eutech; K= 0.1; Cat: ECCNSEN72W; 1m cable, DIN connector to be compatible with Eutech Con 510 meter.; No.; 01. 6; CH530125; Conductivity standard solution 5uS NIST traceable, with certificate. Make: LOBA / HACH / Merck / Regicon / Ranbaxy / Fisher .(with min shelf life of SIX months on day of material inspection); ml.; 500. 7; CH540108; Delta filter for hydrogen purity analyser. Model: delta filter, max temp (-)120F, max pressure (-)60psig for make Nova gas USA model:380K.; No.; 01. 8; CH550101; EDTA disodium salt AR. Make: Rankem/ Fisher/ SD fine/Ranbaxy/Merc.; Gm.; 500. 9; CH550108; Electrolyte for online chlorine gas leakage detector 5ml packing. Make: Hussani.; pk; 18. 10; CH560103; Formaldehyde solution 38% approx. Make: Rankem / Fisher/SD fine/ Ranbaxy/ Merc.; ml.; 500. 11; CH770105; Glass fiber filter dia 37mm pore 1.6um 100pc/pk. Make: Whatman / Minipore.; pk; 02. 12; CH580107; Hydrogen Peroxide 30% AR. Make: Rankem/ Fisher/SD fine/Ranbaxy/Merc; ml.; 1000. 13; CH813983; Ignition thread . Material: Cotton , Make: PARR USA; Cat No.:845DD.; pk; 02. 14; CH813961; Fuse wire 10cm (pk of 3). Cat: 45C10 , Material: Ni-Cr alloy ,make: Parr USA.; No.; 01. 15; CH590110; Iodine solid, Make: Rankem/Fisher/SD fine/Ranbaxy/Merc; Gm.; 100. 16; CH510165; Iso Propynol. Make: Rankem/Fisher/SD /Fine / Ranbaxy/Merc ,2.5L pack.; pk; 06. 17; CH812606; Lab electric kettle. Capcity: 1L (approx), concealed heating element; Single phase, Color: Black / or any dark colour, Make: Usha / Bajaj / Khaitan.; No.; 01. 18; CH630116; Magnisium Oxide AR.Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc.; Gm.; 500. 19; CH630104; Mercuric Chloride AR.Make: Rankem/ Fisher / SD fine/Ranbaxy/Merc.; Gm.; 250. 20; CH640101; NEDA N(1-Naphthyl)Ethylenediamine Dihydrochloride GR. Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc; Gm.; 50. 21; CH510119; Oxalic Acid.Make: Rankem/Fisher/SD fine/Ranbaxy/Merc.; Gm.; 5000. 22; CH 510117; OrthoPhosphoric Acid 80% approx. Make: Rankem /Fisher/SD fine/Ranbaxy/Merc.; ml.; 500. 23; CH660111; Pararosaniline hydrochloride LR. Make: Rankem/Fisher/SD fine/Ranbaxy/Merc.; Gm.; 25. 24; CH660101; PDMA (Para Dimethyl amino benzaldehyde) . Make: Rankem/Fisher/SD fine/Ranbaxy/ Merc; Gm.; 100. 25; CH520133; pH buffer NIST traceable standard 4.0 apprx. Make: HACH / Loba/ SD fine / Cole Parmer / Regicon; ml.; 500. 26; CH520134; pH buffer NIST traceable standard 7.0 apprx. Make: HACH / Loba/ SD fine / Cole Parmer / Regicon; ml.; 500. 27; CH520135; pH buffer NIST traceable standard 9.2 apprx, Make: HACH / Loba/ SD fine / Cole Parmer / Regicon; ml.; 500. 28; CH520129; pH buffer 4.0.Make: Rankem/ Fisher/ SD fine/Ranbaxy/Merc.; Amp; 03. 29; CH813980; pH electrode . Cat:9107BNMD;to be compatible with Orion 420+ pH meter, Epoxybody gelfilled maintanance free combined pH electrode with inbuilt temp. Make: Thermo Orion USA; No.; 01. 30; CH610109; pH test paper strips indicator papers range 1 to 14, in plastic box.; pk; 20. 31; CH660145; Phenol solid. Make: Rankem/Fisher/SD fine/Loba/Ranbaxy/Merc.; Gm.; 500. 32; CH660147; Policeman polyethylene. Material: Polyethene / polypropylene; Length: 8"approx.; No.; 05. 33; CH811406; Porcelain evaporating dish cap 100ml apprx. Material: Porcelain, Superior quality.; No.; 10. 34; CH660128; Potassium Iodate. Make: Rankem/Fisher /SD fine/Ranbaxy/Merc.; Gm.; 100. 35; CH660121; Potassium Iodide AR. Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc.; Gm.; 250. 36; CH660123; Potasium Metabisulphite. Make: Rankem/ Fisher/SD fine/Ranbaxy/Merc.; Gm.; 5000. 37; CH660125; Potassium Nitrate AR.Make: Rankem/ Fisher / SD fine/Ranbaxy/Merc; Gm.; 500. 38; CH680106; Reachargable battery for dissolved oxygen analyser. Capcity120mAH, size9V Nickle -Cadmium rechargeable.; No.; 02. 39; CH810901; Sampling bottle(PVC) 1L . Colour: White with suitable lid.; No.; 42. 40; CH690142; Silicone tube. Superior quality, outer dia= 9mm, inner dia=6mm(approx), color: White.; mt; 05. 41; CH660139; Sodium Arsenite. Make: Rankem /Fisher/ SD fine/Ranbaxy/Merc.; Gm.; 250. 42; CH690129; Sodium bicarbonate. Make: Rankem /Fisher /SD fine/Ranbaxy/Merc.; Gm.; 500. 43; CH690106; Sodium Carbonate AR. Make: Rankem /Fisher /SD fine/Ranbaxy/Merc.; Gm.; 500. 44; CH690111; Sodium Hydroxide AR. Make: Rankem /Fisher/SD fine/Ranbaxy/Merc.; Gm.; 500. 45; CH690127; Sodium Hydroxide 1N ampule.Make: Rankem /Fisher/SD fine/Ranbaxy/Merc.; Amp.; 06. 46; CH690113; Sodium Metabisulphite. Make: Rankem /Fisher/SD fine/Ranbaxy/Merc.; Gm.; 500. 47; CH690143; Sodium Nitrite (assay >97%). Make: Rankem /Fisher/SD fine/Ranbaxy/Merc.; Gm.; 500. 48; CH690108; Sodium Potasium Tartrate, Make: Rankem /Fisher/SD fine/Ranbaxy/Merc; Gm.; 1000. 49; CH690117; Sodium Sulphite.Make: Rankem /Fisher/ SD fine/Ranbaxy/Merc.; Gm.; 500. 50; CH690119; Sodium thiosulfate pentahydrate.Make: Rankem/Fisher/SD fine/Ranbaxy/Merc.; Gm.; 1000. 51; CH814032; Standard Weight capacity 2 kg Make: Weightronics, Material: SS, Class: M1 with certificate from NABL accredited lab in name of GGSSTP Coal Testing Lab, Rupnagar; No.; 01. 52; CH690123; Starch soluble AR, Make: Rankem / Fisher /SD fine/Ranbaxy/Merc; Gm.; 500. 53; CH510123; Sulfuric acid fuming (Oleum 15% wt free SO3).Make: Rankem/Fisher/SD fine/ Ranbaxy /Merc/Loba.; ml.; 500. 54; CH510127; Sulphamic Acid AR.Make: Rankem/Fisher/ SD fine/Ranbaxy/Merc; Gm.; 200. 55; CH690125; Sulphanilamide AR. Make: Rankem/Fisher /SD fine/Ranbaxy/Merc.; Gm.; 500. 56; CH770106; PTFE PM 2.5 membrane filter, dia 46.2mm pore 2um 50pc/pk. Material: PTFE, to be compatible with PM 2.5. Make: Whatman / Minipore.; pk; 04. 57; CH814038; Thermocouple R type. Length=0.5 m (approx), thickness 7mm or less range 50 to 1200 deg C (or better) with compatible & attached digital indicator. Indicator resolution 0.1 deg C. Cable length approx 2 m. Should be with calibration certificate from NABL accredited lab in name of GGSSTP COAL TESTING LABORATORY, RUPNAGAR.; No.; 01. 58; CH700119; Thorin indicator (solid). Make: Rankem/ Fisher /SD fine/Ranbaxy/Merc.; Gm.; 100. 59; CH710101; Universal pH indicator extrapure. Make: Rankem/Fisher/SD fine/Ranbaxy/Merc (Packing of 500ml).; ml.; 3500. 60; CH780103; Filter paper No. 41 circle dia: 12.5cm, Make: Whatman (100 No. circle/pk).; pk.; 02. 61; CH810925; Borosilcate glass NOx bottle cap 2000 ml, Short neck, double opening. Standard taper opening 24/40. With compatible three way T-bore stopcock on main opening. With second taper Thermometer cavity. Superior borosilicate transparent glass. Design as per IS 11255:2005 (Part7) Page No.: 02; No.; 02. 62; CH810926; Borosilicate glass impinger. Graduated ,cap 240ml for water holding in stack monitoring kit.; No.; 03. 63; CH810927; Borosilicate glass impinger. Graduated, cap 35ml for absorbing soln holding in PM 10 gaseous attachment.; No.; 10. 64; CH810928; Borosilicate glass impinger . For gas collection with SMK cap 120ml, Graduated ,for silica gel holding in stack monitoring kit.; No.; 08. 65; CH810929; Borosilicate glass impinge. For silica gel in SMK cap 120ml, Graduated , for SO2 absorbing soln holding in stack monitoring kit.; No.; 08. Beakers: Low form with spout double garduated capacity; borosilicate,. 66; CH810405; Cap 250 ml , Borosilicate glass.; No.; 06. 67; CH810407; Cap 500ml, Borosilicate glass.; No.; 06. 68; CH810409; Cap 1000ml, Borosilicate glass.; No.; 06. Cylinder: Color comparison Nesseler flat bottom graduated:. 69; CH810201; Cap 50ml, Borosilicate glass.; No.; 10. 70; CH810203; Cap 100ml, Borosilicate glass.; No.; 10. Cylinder: graduated single metric scale with penny head I/C stopper with hexagonal case,. 71; CH811103; Cap 100ml, Borosilicate glass .; No.; 12. Flask : Erlenmeyer conical flask without stopper:. 72; CH811803; Cap 250 ml , Borosilicate glass.; No.; 12. 73; CH810803; Reagent bottle. Borosilicate glass, Amber color, Cap 500ml , narrow mouth I/C flat head stopper; No.; 04. 74; CH812308; Pippette transfer volumetric cap 10 ml. Make: Borosil Cat No.7100 accuracy as per IS1117:1975, with certificate class–A.; No.; 05. 75; CH812309; Pippette transfer volumetric cap 20 ml. Make: Borosil Cat No.:7100 accuracy as per IS1117:1975,with certificate. class–A; No.; 05. 76; CH811310; Volumetric flask cap 25 ml. with I/C stopper , Make:Borosil Cat:5640 acuracy as per 915:1975 with certificate Class-A.; No.; 10. 77; CH811311; Volumetric flask cap 50 ml, with I/C stopper , Make: Borosil Cat: 5640 accuracy as per 915:1975 with certificate Class-A.; No.; 10. Test Sieves,. 78; CH813401; Appreture size 2.36mm; frame size 45x30x10 cm (min & approx), (IS 469: 1962) Square GI frame with handles on both sides, with calibration certificate from NABL accredited lab in name of GGSSTP coal testing lab, Rupnagar.; No.; 01. 79; CH813402; Appreture size 2.00mm; frame size 45x30x10cm (min & approx) (IS 469: 1962) Square, GI frame with handles on both sides; with calibration certificate from NABL accredited lab n name of GGSSTP coal testing lab, Rupnagar.; No.; 01. 80; CH813403; Appreture size 4.75mm; frame size 45x30x10cm (min & approx) (IS 469: 1962) square, GI frame with handles on both sides.; No.; 01. 81; CH813404; Apperture size 1.18mm. Circular sleve with dia 200mm, brass frame, (IS 469: 1962); Make Endecots / Aimil.; No.; 01. 82; CH813405; Apperture size 600 micron m; Circular sieve with dia 200mm, brass frame, (IS 469:1962); Make Endecots / Aimil.; No.; 01. 83; CH813930; 200 mesh BSS, wire mesh cloth. Circular sieve with dia 200mm, brass frame, BSS or 75 micron m (IS 469:1962) or 200 mesh ASTM ; Make Endecots / Aimil.; No.; 02. 84; CH813929; 100 mesh BSS, wire mesh cloth. Circular sleve with dia 200mm, brass frame, BSS or 150 micron m (IS 469: 1962) or 100 mesh ASTM ; Make Endecots / Aimil.; No.; 01. 85; CH813928; 50 mesh BSS; wire mesh cloth. Circular sleve with dia 200mm, brass frame, BSS or 300 micron m (IS 469:1962) or 50 mesh ASTM, Make Endecots / Aimil.; No.; 01. 86; CH813981; Grinding ball set (8 balls) for Hardgrove grindiability index instrument (as per IS 4433) Make: Malik Engg Works, Delhi.; Set; 01. |

TERMS AND CONDITIONS:-

- A set of tender documents containing detailed technical specifications, General instructions and terms & conditions can be obtained from Dy.C.E./Monitoring, V & P.O. Ghanauli, GGSSTP, Ropar-140113 on payment of cost by cash or demand draft drawn in favour of Accounts officer /O&M GGSSTP, Ropar payable at Ropar.

- Tender of firms which do not purchase the tender documents in advance shall not be opened.

- All tenders must be accompanied by earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted there under.

- Telegraphic / Fax quotations shall not be accepted.

- Negotiations shall not be held excepting with the lowest tenderer.

Dy.CE /Monitoring,

For	CE/GGSSTP, Roopnagar