PUNJAB STATE ELECTRICITY BOARD

GURU GOBIND SINGH SUPER THERMAL PLANT ROOPNAGAR

Tender Notice

| Office | Chief Engineer/GGSSTP, Roopnagar. |
| --- | --- |
| Tender Specification No. | 6929/P-II/EMP-11148 Dated: 8.9.16 |
| Issuing Authority | Chief Engineer/GGSSTP, Roopnagar. |
| Address: | Dy.CE/Monitoring, GGSSTP Roopnagar. |
| Place | Roopnagar. |
| Short Description | Air Filter Regulators and their spares in respect of IMC for Unit 1 to6 of GGSSTP, Roopnagar. |
| Tender publication | ON ALL INDIA BASIS |
| Eligibility Criteria | As per terms and conditions |
| 1) Starting date of Sale of Tender | at 11.00 A.M. |
| 2) Last Date for Sale of Documents | 18.10.16 Up to 11.00 A.M. |
| 3) Last Date of Bid Submission | 21.10.16 Up to 11.00 A.M. |
| 4) Bid Opening | 21.10.16 at 11.30 A.M. |
| Document Cost | Rs. 500/- |
| Payment Mode | DD or Cash |
| Payment in favour of | Accounts Officer/O&M, GGSSTP, Ropar. (PUNJAB) |
| EMD | Demand Draft in favour of Accounts Officer/O&M, GGSSTP, Ropar (PUNJAB) |
| Contact | Phone No. 01881-275666 FAX No. 01881-274232 |
| Tender Details:- Sr. No.; Description; Qty. (Nos.). 1; Air filter cum pressure regulator 0 to 2.1Kg/cm2. Process connection ¼” NPT (F) alongwith outlet Pressure Gauge.; 21. 2; Air filter cum pressure regulator 0 to 7Kg/cm2. Process connection ¼” NPT (F) alongwith outlet Pressure Gauge.; 50. 3; Transparent Polycarbonate Air Filter with Lubricator Range 0-7Kg/cm2. Process connection ¾” NPT(F); 20. 4; Transparent Polycarbonate Air Filter cum Regulator with lubricator. Range 0-7Kg/cm2 Process connection ¾” NPT (F) alongwith Pressure Gauge.; 12. 5; Air filter cum pressure regulator 0 to 7Kg/cm2. Process connection 3/8” NPT (F) with outlet Pressure Gauge; 10. 6; Purge Rotameter for Hydrogen purity, O2 analyzer with DP regulator process Range 0-5Kg/cm2, Flow range 0 to 70LPH.; 04. 7; Filter element for air filter cum pressure regulator of Sintered Bronze, 25 micron, Conical tapered.; 30. 8; Filter element for air filter cum pressure regulator of Sintered Bronze, 5 micron, Cylindrical Tapered.; 40. |

TERMS AND CONDITIONS:

- A set of tender documents containing detailed technical specifications, General instructions and terms & conditions can be obtained from Dy.CE/Monitoring, V&P.O. Ghanauli, GGSSTP, Roopnagar -140113 on payment of cost by cash or demand draft drawn in favour of Accounts officer/O&M, GGSSTP, Ropar payable at Ropar (PUNJAB).

- Tender of firms, which do not purchase the tender documents in advance, shall not be opened.

- All tenders must be accompanied by earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted there under.

- Telegraphic / Fax quotations shall not be accepted.

- Negotiations shall not be held excepting with the lowest tenderer.

Dy.CE/ Monitoring,

For CE/GGSSTP, Roopnagar