| TENDER NOTICE FORMAT |  |  |
| --- | --- | --- |
| Office | General Manager/O&M, |  |
| Tender Specification No | 856/O&M/PC-1857 dated 07-04-2016 |  |
| Issuing Authority | General Manager/O&M, (Procurement Cell), GHTP, Lehra Mohabbat |  |
| Address | General Manager/O&M, (Procurement Cell), GHTP, Lehra Mohabbat |  |
| Short Description of material/item | Procurement of 1) Anticorrosion coal tar tape. = 1640 Sq. Mtr. 2) Coal tar primer. = 240 Ltr. |  |
| Tender Publication (Details of Newspaper) | As per standard norms of Punjab State Power Corporation Limited in newspapers like Indian Express, Hindustan Times, The Tribune, National Herald & Times of India etc. |  |
| Eligibility Criteria, if any (in brief) | As specified in the NIT. |  |
| Starting date of Sale of Tenders | 07-04-2016 | 11-00 Hrs. |
| Last date of Sale of Tenders | 16-05-2016 | Upto 15-00 Hrs. |
| Last Date for Bid submission | 20-05-2016 | Upto 11-30 Hrs. |
| Pre Bid Meet Date |  |  |
| Bid Opening | 20-05-2016 | At 12-00 Hr. |
| Document Cost | Rs. 500/- |  |
| Payment Mode | By Demand Draft payable at Rampura Phul or Cash |  |
| Payment in favour of | Accounts Officer/O&M, GHTP, Lehra Mohabbat. |  |
| EMD | @ 2% By Demand Draft payable at Rampura Phul or Cash Minimum Rs. 5000/-. |  |
| Contact | Phone No: 0164-2756347 E-mail ID : se-hq-op-lehra@pspcl.in |  |
| URL for Additional Information | -- |  |
| Tender information in details | As mentioned in the Specification. |  |

TERMS AND CONDITIONS:

- A set of tender documents containing technical specifications, general instructions, terms and conditions can be obtained from this office on payment of cost by cash or demand draft drawn in favour of Accounts Officer/O&M, GHTP, Lehra Mohabbat, payable at Rampura Phul. Tenders of the firms who do not purchase the tender documents in advance shall not be opened. All other terms and conditions shall be strictly as per tender specifications.

- This procurement is based on three part bid as detailed below:-

Earnest Money: (Part-I): Earnest Money @ 2% of tender value minimum Rs.5000/- and maximum Rs. 10,00,000/-. All tenders must be accompanied with earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted.

Commercial and Technical Conditions (Part-II): It consist of following components:-

- Prequalifying condition: - Tenderers will submit proof of having already supplied similar material to any organization. The firm shall supply copies of P.O's in this regard. The firm shall also submit the performance certificate.

- Technical qualification: Tenderer will submit detailed technical specifications, drawings of the material offered as required in tender documents.

- Commercial Conditions: Tenderer will submit detailed commercial conditions except the price.

Price Bid (Part-III): Tenderer will submit their price bid.

Being three part bid, Earnest money (Part-I), commercial and technical conditions (Part-II) and Price Bid (Part-III) should be contained in three separate envelopes, and marked accordingly.

- On due date of opening, only part-I (EMD) & Part-II (Commercial and Technical conditions) shall be opened. Part-III (Price Bid) will be opened after finalization of technical evaluation of the received tenders and tenderers will be informed accordingly.

Price bid (Part-III) of the tenderers who do not submit requisite EMD or not qualify commercial and technical conditions will not be opened.

- No Specifications/tender documents shall be issued to the firms who are defaulters for 25% or more quantity for more than 9 months or any quantity for more than 15 months in making supplies against earlier purchase order placed on them at the time of issue of the documents.

- Punjab State Power Corporation Limited reserves the right to reject any/all tenders in whole or in part without assigning any reason thereof.

Superintending Engineer/HQ,

For	General Manager/O&M,

GHTP, Lehra Mohabbat.