Notice Inviting Offers (Limited Tender)

Office of the Addl. SE/DS Division KHANNA

Offers are invited by the undersigned on behalf of PSPSL from the A-CLASS experienced contractors (Electrical) who fulfil the qualification criteria, to carry out the work given below on labour rates on the technical & commercial terms & conditions/ specifications and firm rates.

| 1. | Tender Enquiry No. | 02/Addl. SE/DS Division/KHANNA 2015-16 |
| --- | --- | --- |
| 2. | Description of work | DIGGING WORK, BORING BENEATH RAILWAY TRACK LAYING OF 8" HDPE PIPES OF RESPECTIVE LENGTH AND SPECIFICATIONS AS PER SPECIFICATION APPROVED RAILWAYS LAYING OF UNDERGROUND PIPES AND XLPE CABLES ITS TESTING AND COMMISSNING FOR RAILWAY CROSSING FOR 3 PHASE 3 WIRE DEHRU FEEDER UNDER DS SUB DIVISION CHAWA UNDER DS DIVISION KHANNA. |
| 3. | Scope of Offer | Scope of this ‘Offer’ is to select the Contractors, allot the work to them purely on Technical merits and to get the work executed strictly to the PSEB (Now PSPCL) specifications. |
| 4. | Cost of Offer documents | Rs. 1000/-(non-refundable) for each work |
| 5. | Earnest Money deposit amount | 2% of Value of work subject to minimum of Rs. 7000/- |
| 6. | Security deposit | 5% of the contract value/ actual value of work done. |
| 7. | Estimated Cost of the work | Rs. 3.45 lacs |
| 8 | Last date & time of sale of specifications | 06.01.2016 up to 11.00 AM. |
| 9 | Last date & time of receipt of offers | 06.01.2016 at 03-00 PM. |
| 10. | Date & time of opening of offers | 06.01.2016 at 03-30 PM. |
| 11 | Validity period of the bid | 120 days |
| 12 | Completion period | 30 days after the issue of work order. |
| 13 | Telephone No: Mobile No: |  |

Sd/-

Addl/ SE/DS.

PSPCL Division,

KHANNA

-sd-

TERMS & CONDITIONS

  - A set of tender documents containing technical specifications, general instructions and terms and conditions of each work can be obtained from this office on payment by cash or demand draft of a scheduled Bank in favour of PSPCL payable at Khanna. Tenders/ Bids of the contractors/ firms, which do not purchase the tender documents in advance, shall not be accepted/ opened.

  - All tenders must be accompanied by Earnest Money equal to the amount as prescribed in the tender documents except in the case of those tenderers who are specifically exempted as per the works regulation of PSPCL.

  - Conditional tenders, telegraphic/ e-mailed/ telefax tenders, tenders not on prescribed form and tenders without earnest money shall not be accepted.

  - In case date of opening happens to be holiday, the tenders shall be opened on the next working day at the same time.

  - Tender shall remain valid for 120 days from the date of opening which can be further extended if required with same terms and conditions.

  - The undersigned reserves the right to reject any or all tenders without assigning any reasons. In case of any dispute, the decision of the undersigned will be final.

  - Rates must be quoted in figures as well as in words. Tender containing corrections/ overwriting without attestation by the tenderers will be rejected.

  - The quantities mentioned in the tender specifications can be increased/ decreased as per site requirement with the approval of competent authority.

  - Tenderer will have to comply with all the rules and regulations under Factory Act, Industrial Dispute Act, E.P.F. Act, Labour Laws, Bonus Act and Retrenchment Compensation Act.

  - Tenders received after the due date and time shall not be entertained.

  - Negotiations, if required, shall not be held except with the lowest tenderer.

  - The tenderers shall bring all the original documents at the time of submission of application for purchasing of tender documents and also attach attested copies of the same with application as under (Tender shall be sold to only those contractors who have all the following proofs available with them because this is a skilled work requiring skilled and experience contractor):

- Proof for having A-Class contractor (electrical certificate) from CEI Punjab under Indian Electricity Rule 1956 Clause-45 for carrying out such type of jobs and submit a copy of the valid license along with the request for issue of tender documents

(ii)   Income tax clearance certificate with PAN Number.

- Proof of EPF Account No. issued by EPF authorities.

- Affidavit attested by the appropriate authority stating that contractor/ firm is not blacklisted by any Govt. / Semi Govt. Deptt.

- Bank solvency certificate.

- Proof of having done similar nature of works of the same magnitude during the last three years       with performance certificates issued by the concerned Departments not below the rank of Executive Engineers.

- Undertaking from the bidder that in case of award of contract to them, they shall furnish Labour License/ Exemption certificate from Labour Deptt., before the commencement of work.

13.	The contractor / executive agency will it self be fully responsible for any type of damage to the material or to the work due to accident or natural calamity.

14.	The onus of responsibility in case of death or injury to the labour/ worker during the currency of work or at the time of execution of work will fully lie with the contractor / executive agency. PSPCL will bear no claim/ responsibility in this regard whatsoever.

15. 	The tenderer must convey unconditional acceptance to the PSPCL’s terms and conditions, failing which their price bid shall not be opened.

16.	Time to complete the work will be 30 days after the award of contract.

Sd/-

Addl. SE/DS Division,			                 PSPCL Khanna

# TENDERING & CONTRACT AGREEMENT

1.1   SUBMISSION OF TENDERS:

Notwithstanding anything contained to the contrary in the specifications of tenders or in subsequent exchange of correspondence these conditions of contract shall be binding on the contractor and any change or variation expressed ;or implied, however, made in the said conditions shall not be valid or operated unless expressly approved by the competent authority. The contractor shall be deemed to have fully informed himself and to have special knowledge of the provisions of the conditions of contract here in contained.

The following instructions must be carefully observed by all tenders. Quotations/ tenders not strictly in accordance with these instructions will be liable to be rejected failure to comply with any of these instructions or to offer explanation for non compliance is likely to render effective comparison of the tender as a whole impossible and may lead to rejection of an otherwise apparently lowest offer.

- The tender must be complete in all respects.

- Tenders shall be submitted in duplicate all copies shall be separately tagged and clearly marked as 'Original', 'Duplicate', as the case may be.

- Conditional tenders telegraphic, through telex fax tenders, tenders not on prescribed Forms or tenders without earnest money in the required shape shall not be accepted.

- TWO PART BIDS: - The tenders shall be submitted in two parts in duplicate i.e. part-I and Part-II. Each part will be enclosed in a separate envelope duly super scribed on the envelope as under.

- PART-I EARNEST MONEY: -   The first part will consist of earnest money deposit in the form of demand draft in favor of. PSPCL payable at Khanna.

- PART-II PRICE BID :-  II part will consist of price bid including Commercial and Technical Conditions Firstly the envelope containing earnest money shall be opened and if the earnest money of any bidder is not found as per Tender requirement then the IInd part i.e. price bid shall not be opened and Tender shall be cancelled.

  - TENDERS TO BE INVALIDATED

The tenders must be complete in all respects; Conditional, incomplete or not properly sealed tenders and tenders received late due to any reason whatsoever will be rejected.

  - INSPECTION OF SITE BY THE TENDERS

Tenders should inspect the site and examine and obtain all information required and satisfy himself regarding all matters and things before submission of his tender such as:

- Whether any existing access to the site is available on the highway, its suitability for transporting his equipments and the extent to maintenance required to keep it into a serviceable condition.

- The type and extent of access roads to be provided by the contractor including its maintenance for the transportation of equipment.

- The type and number of equipment and facilities required for the satisfactory completion of work the quantities of various sections of the work, the availability of local labour, availability and rates of materials, local working conditions, extreme weather conditions uncertainties of weather, obstructions and hindrances that may arise etc.  Which may affect the work or cost thereof.

  - SIGNING OF THE TENDERERS

Tenders shall be signed by the owner or person holding power of attorney by him to do so. Necessary documents in support thereof should be enclosed with bid at the time of submission, failing which tender may not be considered.

  - EARNEST MONEY/SECURITY DEPOSIT:

The tenders shall be required to submit earnest money amounting to 2% of bid price. The draft representing earnest money should be in favors of PSPCL payable at 
Operation Division Khanna.

Public Sector undertakings fully owned by the Punjab Government/Central Government/Other State Government shall be exempted from depositing Earnest Money, provided that a certificate of Government Ownership shall be submitted in the envelope for Earnest Money.

In case; of tenders not accepted, the earnest money shall be refunded within 30 days of the award of order/contract to the unsuccessful tenderer or after the expiry of additional/period whichever is later..

Security Deposit @5 %will be deducted from running and final bills in which amount of earnest money is adjustable.

  - TENDER TO CONFORM TO SPECIFICATIONS:

Tender who proposes any alteration in the work specified in the Tender Specification, or in time allowed for carrying out the work or which contains any other terms & conditions of any sort will be liable to rejection.

  - RATES TO INCLUDE EVERY THING NECESSARY:

  - Prices & rates quoted shall include cost of all charges for labour including all leads and lifts, tools, plant, mobilizing and demobilizing equipment, consumables such as fuels lubricants, electrodes, acetylene etc., fixtures, settings out, transport charges, taxes, royalties, octroi for temporary/permanent work and any local taxes or levies payable on all transactions or any left out item necessary for due performance of work under this contract. Quoted rates shall take into account all the above and every thing else necessary and such quoted rates shall remain firm for the entire duration of the contract. Bidders shall note that later claims on account of non-inclusion of some or any necessary item in his quoted rates will not be entertained under any circumstances.

  - The unit rates quoted shall take into account details of construction which are obviously and fairly intended, and which may not have been specifically referred to in these documents but are essential for the satisfactory completion of work.

  - Rates quoted by Bidder for all items of work shall firm irrespective of variation to any extent in quantities of any or all items indicated in section-VI .

  - The rates quoted shall be good for all shapes and sizes of members whether or not shown in tender drawing issued along with the specification.

  - The rates quoted shall be good for works below or above ground level, irrespective of elevations unless separate rates are called for, for different elevations.

  - The rates quoted by the bidder shall include any straightening of raw steel, coiled sheets etc. prior to use on the works.

  - Price includes the VAT/Tax/Duties/ Octroi leviable by the State Govt./Central Govt./Local Bodies & other agencies. Statuary variation shall be to contractors A/C.

  - POST TENDER MODIFICATIONS

The bidder shall make no modification to the bid after opening of the bids unless specifically requested by PSPCL. The earnest money of any bidder who modifies after opening, without any specific reference from PSPCL shall be forfeited without any further reference to the bidder and he shall be liable to further action like suspension of business dealing/blacklisting.

  - ALL CUTTING/CORRECTONS TO BE INITIALLED:

Each page of the tender document including the schedule of quantity and bid drawings be signed and dated by tenderer in ink as a token of his having examined the same. Any correction in the rates quoted in the schedule of quantities shall also be signed with date by tenderer before submitting the tender. All corrections and additions or pasted slips should be initialed by the contractor. Non-compliance with these conditions will make the tender liable to rejection.

  - RIGHT TO REJECT ALL OR ANY TENDER:

The officer inviting Tenders/Contracting Agency/PSPCL reserves the right to reject any or all the tenders/without assigning reasons. He will not be responsible for and will not pay for expenses or losses that may be incurred by tenderer in preparation of the tender.

  - VALIDITY OF TENDERS:

The tenders as submitted should be valid for acceptance for at least 120 days from the date of opening of tenders, unless specified otherwise.

  - PLANT & EQUIPMENT:

i)	The contractor, shall at his own expense supply all tools, plant & equipment (hereinafter referred to as T&P) required for the execution of the contract other than those listed in tender documents/contract agreement which subject to their availability may be hired from PSPCL to the contractor or issued free for use in the execution of the work, as specified in the tender documents.

    - The details of plant, equipment & machinery available with the tenderer in working order for deployment on the work shall be submitted relevant information on the capability, financial resources and experience about him.

  - SPLITTING OF WORK:

The PSPCL reserves the right to split up the work in the scope of this contract among more than one contractor during the progress of work due to unsatisfactory progress of work of the contractor. (The provision of reserve the right to split the work at the initial stage of award can be incorporated in specific case where relevant, with the approval of the Competent Authority). The PSPCL will not entertain any claim from any contractor as a result of such splitting up. The PSPCL also reserve the right to exclude /include any items of work from/into scope of the contract during the progress of work due to any reason whatsoever. The Engineer-in-charge reserves, the right to inject labour, T&P and materials at the contractor's cost at any stage of work if the progress is not commensurate with the committed schedule and the contractor will not have an right to object.

  - PATENT RIGHTS:

The contractor shall fully indemnify PSPCL or the officer-in-charge against any action, claim or proceeding relating to infringement or the use of any patent or design or any alleged patent or design rights and shall pay any royalties which may be payable in respect of any article / or part thereof included in the contract.

In the event of any claim being made or action brought against PSPCL Officer-in-charge in respect of the matters aforesaid the contractor shall immediately be notified thereof for taking necessary action provided that payment of indemnity shall not apply when such infringement has taken place in complying with the specific directions issued by PSPCL but the contractor shall pay any royalties payable in respect of any such use.

  - WCT (WORKS CONTRACT TAX):& INCOME TAX & WWC (Worker Welfare cess)

      - Work Contract Tax @ 6% shall be deducted from the bills of contractor as required under section-27 of Punjab Value Added Tax Act 2005  the amount so deducted shall be deposited by the PSPCL with authorities and the contractor shall be required to get any refund from the Sales, if eligible for the same and shall justify the same to Sales.

      - Service Tax applicable shall be payable by both the contractor & contractee under Reverse Charge Mechanism as per prevalent Service Tax Rules.

      - Worker welfare cess @ 1% or applicable at the time of contract shall be deducted from the contractor bills.

      - T.D.S shall be deducted  at the following Rates :-

      - 2% in case of Company

      - 1% in case of Other than Company

      - BID /CONSTRUCTION DRAWINGS:

The list of drawings given in the tender documents are intended only to convey to the tenderer a general idea of the type & extent of work involved. As such they are indicative for the tender purposes only. The construction drawings shall be issued to the contractor progressively after award of contract to suit work/project priorities. The construction designs can also be revised due to any reason whatsoever before execution of that part of the work. No claim will be entertained from the contractor for any such revision if the construction drawings are at variance from those issued for tender purposes and also due to any revision of the construction drawings issued before execution of that part of the work.

            - SIGNING OF CONTRACT:

In the event of tender being accepted an intimation shall be given to the contractor who shall thereupon attend office of Accepting Officer to sign copies of the specification and other documents and to execute the contract agreement within specified dates of the issue of such intimation failing which acceptance of his tender shall be cancelled and his earnest money will be forfeited.

Sd/-

Addl. SE/DS Division,		  PSPCL Khanna