PUNJAB STATE ELECTRICITY BOARD

GURU GOBIND SINGH SUPER THERMAL PLANT ROOPNAGAR

Tender Notice

| Office | Chief Engineer/GGSSTP, Roopnagar. |
| --- | --- |
| Tender Specification No. | 6935/P-II/EMP-11170 Dated: 29.9.16 |
| Issuing Authority | Chief Engineer/GGSSTP, Roopnagar. |
| Address | Dy. CE/Monitoring, GGSSTP Roopnagar. |
| Place | Roopnagar. |
| Short Description | Temperature controllers for ATRS System. |
| Tender publication | ON ALL INDIA BASIS |
| Eligibility Criteria | As per terms and conditions |
| 1) Starting date of Sale of Tender | At 11.00 A.M. |
| 2) Last Date for Sale of Documents | 07.11.16 Upto 11.00 A.M. |
| 3) Last Date of Bid Submission | 10.11.16 Upto 11.00 A.M. |
| 4) Bid Opening | 10.11.16 at 11.30 A.M. |
| Document Cost | Rs. 500/- |
| Payment Mode | DD or Cash |
| Payment in favour of | Accounts Officer/O&M, GGSSTP, Ropar. (PUNJAB) |
| EMD | Demand Draft in favour of Accounts Officer/O&M, GGSSTP, Ropar (PUNJAB) |
| Contact | Phone No. 01881-275666 FAX No. 01881-274232 |
| Tender Details:- Sr. No.; Description; Qty.(Nos.). 1; Microprocessor based temperature controllers.; 03. TERMS AND CONDITIONS: - A set of tender documents containing detailed technical specifications, General instructions and terms & conditions can be obtained from Dy. CE/Monitoring, V&P.O. Ghanauli, GGSSTP, Roopnagar -140113 on payment of cost by cash or demand draft drawn in favour of Accounts officer/O&M, GGSSTP, Ropar payable at Ropar (PUNJAB) - Tender of firms, which do not purchase the tender documents in advance, shall not be opened. - All tenders must be accompanied by earnest money at the rates prescribed in the tender documents except in the case of those tenderers who are specifically exempted there under. - Telegraphic / Fax quotations shall not be accepted. - Negotiations shall not be held excepting with the lowest tender. Dy. CE/ Monitoring, GGSSTP, Roopnagar. |