|  | - PUNJAB STATE POWER CORPORATION LIMITED (Regd. Office : PSEB Head Office, The Mall, Patiala – 147001) - Corporate identity Number U40109PB2010SGC033813 Website: wwwpspcl.in OFFICE OF THE CHIEFENGINEER /GGSSTP, |
| --- | --- |
| MATERIAL MANAGEMENT CELL-II, V&P.O. GHANAULI, RUPNAGAR-140113 Phone no. 01881-275666, E-mail:se-monitoring-ggsstp@pspcl.in |  |

###### Annexure-‘A’

Enquiry No. 7024         /P-2/EMP-11362   Dated: 5.01.18

DETAIL OF MATERIAL AND TECHNICAL SPECIFICATIONS

| Sr. No. | GGSSTP Code No. | Description | Qty. (Nos.) |
| --- | --- | --- | --- |
| 1 | TP0230029 | Water Cooler, 40 Litters cooling capacity/hour and storage capacity of 80 Litters with 2 Taps, Stainless steel body and tank, 230 volts, AC, 50 Hz. Supply. Make VOLTAS, USHA, BLUE STAR or AQUAGAURED. Other Technical specifications are as per Annexure – I attached. | 2. |

Note: - Firms should supply their GST Registration Certificate along with

Offer/ quotation.

Terms and Conditions:-

- Fax/Telegraphic tender shall not be accepted.

- The rates should be quoted on FOR destination basis giving break up of FOR Destination price as per proforma attached.

- The proforma for price schedule enclosed with specification shall be filled by tenderers duly typed and hand written prices shall not be accepted.

- In addition to the break-up of total price i.e. ex-works cost, GST, Freight, Insurance and Packing & Forwarding and GST on these, the bidders should also give split up of ex-works price.

- Split up of ex-works prices shall indicate cost of raw material, Labour component and overhead expenses.

- Raw material can further be divided into 3-4 parts depending upon type of material.

- The offer should be kept valid for 120 days from date of opening of tenders.

- The bidders are not allowed to indicate over all discounts on the quoted price for which split up has been given as mentioned in Sr. No. 4 & 5 above. However, quantity/payment discount can be given by the tenderer in the main tender.

- Any firm offering discount on the quoted price or after the opening of tender will be out rightly rejected.

- Competent authority may distribute the quantities to be procured on more than one firm.

- Quantity can be increased or decreased.

- Relevant literature/catalogue should be sent alongwith quotation.

- Negotiation shall not be held except with lowest bidder.

- Random testing of material on receipt in GGSSTP Store irrespective of the fact whether or not it was inspected before despatch shall be carried out by PSPCL’s. In case of any failure the entire lot shall be rejected at the risk and cost of the supplier.

- Any deviation from PSPCL’s standard terms and conditions be clearly mentioned in quotation under “Schedule of deviations” otherwise all terms and conditions will be deemed to have been accepted.

- Firm should mention GST number in their offer.

- All other terms and conditions are as per Annexure–B attached.

Sd-

Dy.C.E/Monitoring,                                               GGSSTP, Roopnagar.