TELEPHONIC MESSAGE

Msg. No:  334/11								Dated:-22.06.2012

To

1) All EIC/CEs (DS), PSPCL

2) All Dy. CEs/SEs (DS), PSPCL

Subject: Power Regulatory Measures on General industrial, Arc/ Induction Furnace & Rolling Mill Consumers (Except Essential & Other exempted categories) w.e.f. 23.06.2012

In order to bridge the Gap in Demand & supply Power Regulatory measures on Industrial Consumers have been imposed w.e.f 23.06.2012 , as under:

1.	Two Weekly off Days (48 hrs) on General Industrial Consumers being fed from Cat‐2Feeders .Timings of weekly off day for General industry will be from 0800 hrs to 0800 hrs of next to next day . If first Weekly off Day of these consumers is falling on 22.06.2012, these consumers will observe 2nd Weekly off Day on 23.06.2012 and so on

2. 	Two Weekly off Days (48 hrs) on Arc/Induction furnaces and rolling mills                                                                                consumers fed from Cat-2 and Cat-3 feeders. If first Weekly off Day of these consumers is falling on 22.06.2012, these consumers will observe 2nd Weekly off Day on 23.06.2012 and so on. Timings will be from end of Peak Load Restrictions hours of previous day to end of Peak Load Restrictions hours of SECOND day i.e. if first WOD falls on 22.06.2012 timings will be from end of PLR of 21.06.2012 to end of PLR of 23.06.2012 and so on.

Note:

- Arc /Induction Furnace, consumers can  use total 10% of SCD as restricted load during off peak Load hours on  their Weekly off days.

- There is no restriction on the import of open access power by the consumers on weekly off days.

- Days of Weekly off day will remain unchanged as already intimated	 in circular No 02/2010

Dy. CE/PR

For EIC/PP&R, PSPCL,